## Demografico
Subject | ID | sex | age | modalidad | descripción
1 | 003_S_1059 | F | 86.7 | PET | Attenuation Correction=measured,AC_CT; Convolution Kernel=All-pass; Counts Source=EMISSION; Decay Correction=START; Frames=1.0 ; Manufacturer=SIEMENS; Mfg Model=1093; Number of Columns=336.0 pixels; Number of Rows=336.0 pixels; Number of Slices=81.0 ; Pixel Spacing X=1.0 mm; Pixel Spacing Y=1.0 mm; Radioisotope=F-18; Radiopharmaceutical=18F-FDG; Randoms Correction=DLYD; Reconstruction=OSEM2D 4i16s; Scatter Correction=Model-based; Slice Thickness=2.0 mm
1 | 003_S_1059 | F | 86.7 | MRI | Acquisition Plane=SAGITTAL; Acquisition Type=3D; Coil=HE; Field Strength=1.5 tesla; Flip Angle=8.0 degree; Manufacturer=SIEMENS; Matrix X=192.0 pixels; Matrix Y=192.0 pixels; Matrix Z=160.0 ; Mfg Model=Symphony; Pixel Spacing X=1.3 mm; Pixel Spacing Y=1.3 mm; Pulse Sequence=IR/GR; Slice Thickness=1.2 mm; TE=3.6 ms; TI=1000.0 ms; TR=3000.0 ms; Weighting=T1
2 | 003_S_1074 | F | 87.4 | PET | Attenuation Correction=measured,AC_CT; Convolution Kernel=All-pass; Counts Source=EMISSION; Decay Correction=START; Frames=1.0 ; Manufacturer=SIEMENS; Mfg Model=1093; Number of Columns=336.0 pixels; Number of Rows=336.0 pixels; Number of Slices=81.0 ; Pixel Spacing X=1.0 mm; Pixel Spacing Y=1.0 mm; Radioisotope=F-18; Radiopharmaceutical=18F-FDG; Randoms Correction=DLYD; Reconstruction=OSEM2D 4i16s; Scatter Correction=Model-based; Slice Thickness=2.0 mm;
2 | 003_S_1074 | F | 87.4 | MRI | Acquisition Plane=SAGITTAL; Acquisition Type=3D; Coil=HE; Field Strength=1.5 tesla; Flip Angle=8.0 degree; Manufacturer=SIEMENS; Matrix X=192.0 pixels; Matrix Y=192.0 pixels; Matrix Z=160.0 ; Mfg Model=Symphony; Pixel Spacing X=1.3 mm; Pixel Spacing Y=1.3 mm; Pulse Sequence=IR/GR; Slice Thickness=1.2 mm; TE=3.6 ms; TI=1000.0 ms; TR=3000.0 ms; Weighting=T1;
3 | 003_S_1122 | F | 78.1 | PET | Attenuation Correction=CT-derived mu-map,^CT 4 AC: AC_CT; Convolution Kernel=All-pass; Counts Source=EMISSION; Decay Correction=START; Frames=1.0 ; Manufacturer=SIEMENS; Mfg Model=1093; Number of Columns=168.0 pixels; Number of Rows=168.0 pixels; Number of Slices=81.0 ; Pixel Spacing X=2.0 mm; Pixel Spacing Y=2.0 mm; Radioisotope=F-18; Radiopharmaceutical=18F-FDG; Randoms Correction=DLYD; Reconstruction=OSEM2D 4i16s; Scatter Correction=Model-based; Slice Thickness=2.0 mm
3 | 003_S_1122 | F | 78.1 | MRI | Acquisition Plane=SAGITTAL; Acquisition Type=3D; Coil=HE; Field Strength=1.5 tesla; Flip Angle=8.0 degree; Manufacturer=SIEMENS; Matrix X=192.0 pixels; Matrix Y=192.0 pixels; Matrix Z=160.0 ; Mfg Model=Symphony; Pixel Spacing X=1.3 mm; Pixel Spacing Y=1.3 mm; Pulse Sequence=IR/GR; Slice Thickness=1.2 mm; TE=3.6 ms; TI=1000.0 ms; TR=3000.0 ms; Weighting=T1
4 | 016_S_0359 | F | 83.6 | PET | Attenuation Correction=CT-derived mu-map; Convolution Kernel=All-pass; Counts Source=EMISSION; Decay Correction=START; Frames=1.0 ; Manufacturer=CPS; Mfg Model=LSO PET/CT HI-REZ; Number of Columns=168.0 pixels; Number of Rows=168.0 pixels; Number of Slices=81.0 ; Pixel Spacing X=2.0 mm; Pixel Spacing Y=2.0 mm; Radioisotope=F-18; Radiopharmaceutical=18F-FDG; Randoms Correction=DLYD; Reconstruction=OSEM2D 4i16s; Scatter Correction=Model-based; Slice Thickness=2.0 mm
4 | 016_S_0359 | F | 83.6 | MRI | Acquisition Plane=SAGITTAL; Acquisition Type=3D; Coil=PA; Field Strength=1.5 tesla; Flip Angle=8.0 degree; Manufacturer=SIEMENS; Matrix X=192.0 pixels; Matrix Y=192.0 pixels; Matrix Z=160.0 ; Mfg Model=Symphony; Pixel Spacing X=1.3 mm; Pixel Spacing Y=1.3 mm; Pulse Sequence=IR/GR; Slice Thickness=1.2 mm; TE=3.8 ms; TI=1000.0 ms; TR=3000.0 ms; Weighting=T1
5 | 016_S_0991 | F | 86.7 | PET | Attenuation Correction=CT-derived mu-map; Convolution Kernel=All-pass; Counts Source=EMISSION; Decay Correction=START; Frames=1.0 ; Manufacturer=CPS; Mfg Model=LSO PET/CT HI-REZ; Number of Columns=256.0 pixels; Number of Rows=256.0 pixels; Number of Slices=81.0 ; Pixel Spacing X=1.3 mm; Pixel Spacing Y=1.3 mm; Radioisotope=F-18; Radiopharmaceutical=18F-FDG; Randoms Correction=DLYD; Reconstruction=OSEM2D 4i16s; Scatter Correction=Model-based; Slice Thickness=2.0 mm
5 | 016_S_0991 | F | 86.7 | MRI | Acquisition Plane=SAGITTAL; Acquisition Type=3D; Coil=PA; Field Strength=1.5 tesla; Flip Angle=8.0 degree; Manufacturer=SIEMENS; Matrix X=192.0 pixels; Matrix Y=192.0 pixels; Matrix Z=160.0 ; Mfg Model=Symphony; Pixel Spacing X=1.3 mm; Pixel Spacing Y=1.3 mm; Pulse Sequence=IR/GR; Slice Thickness=1.2 mm; TE=3.6 ms; TI=1000.0 ms; TR=3000.0 ms; Weighting=T1
6 | 016_S_1028 | F | 77.6 | PET | Attenuation Correction=CT-derived mu-map; Convolution Kernel=All-pass; Counts Source=EMISSION; Decay Correction=START; Frames=1.0 ; Manufacturer=CPS; Mfg Model=LSO PET/CT HI-REZ; Number of Columns=168.0 pixels; Number of Rows=168.0 pixels; Number of Slices=81.0 ; Pixel Spacing X=2.0 mm; Pixel Spacing Y=2.0 mm; Radioisotope=F-18; Radiopharmaceutical=18F-FDG; Randoms Correction=DLYD; Reconstruction=OSEM2D 4i16s; Scatter Correction=Model-based; Slice Thickness=2.0 mm
6 | 016_S_1028 | F | 77.6 | MRI | Acquisition Plane=SAGITTAL; Acquisition Type=3D; Coil=PA; Field Strength=1.5 tesla; Flip Angle=8.0 degree; Manufacturer=SIEMENS; Matrix X=192.0 pixels; Matrix Y=192.0 pixels; Matrix Z=160.0 ; Mfg Model=Symphony; Pixel Spacing X=1.3 mm; Pixel Spacing Y=1.3 mm; Pulse Sequence=IR/GR; Slice Thickness=1.2 mm; TE=3.8 ms; TI=1000.0 ms; TR=3000.0 ms; Weighting=T1
7 | 016_S_1092 | M | 77.5 | PET | Attenuation Correction=CT-derived mu-map; Convolution Kernel=All-pass; Counts Source=EMISSION; Decay Correction=START; Frames=1.0 ; Manufacturer=CPS; Mfg Model=LSO PET/CT HI-REZ; Number of Columns=168.0 pixels; Number of Rows=168.0 pixels; Number of Slices=81.0 ; Pixel Spacing X=2.0 mm; Pixel Spacing Y=2.0 mm; Radioisotope=F-18; Radiopharmaceutical=18F-FDG; Randoms Correction=DLYD; Reconstruction=OSEM2D 4i16s; Scatter Correction=Model-based; Slice Thickness=2.0 mm
7 | 016_S_1092 | M | 77.5 | MRI | Acquisition Plane=SAGITTAL; Acquisition Type=3D; Coil=HE; Field Strength=1.5 tesla; Flip Angle=8.0 degree; Manufacturer=SIEMENS; Matrix X=192.0 pixels; Matrix Y=192.0 pixels; Matrix Z=160.0 ; Mfg Model=Symphony; Pixel Spacing X=1.3 mm; Pixel Spacing Y=1.3 mm; Pulse Sequence=IR/GR; Slice Thickness=1.2 mm; TE=3.8 ms; TI=1000.0 ms; TR=3000.0 ms; Weighting=T1
8 | 016_S_1263 | F | 65 | PET | Attenuation Correction=CT-derived mu-map; Convolution Kernel=All-pass; Counts Source=EMISSION; Decay Correction=START; Frames=1.0 ; Manufacturer=CPS; Mfg Model=LSO PET/CT HI-REZ; Number of Columns=256.0 pixels; Number of Rows=256.0 pixels; Number of Slices=81.0 ; Pixel Spacing X=1.3 mm; Pixel Spacing Y=1.3 mm; Radioisotope=F-18; Radiopharmaceutical=18F-FDG; Randoms Correction=DLYD; Reconstruction=OSEM2D 4i16s; Scatter Correction=Model-based; Slice Thickness=2.0 mm
8 | 016_S_1263 | F | 65 | MRI | Acquisition Plane=SAGITTAL; Acquisition Type=3D; Coil=HE; Field Strength=1.5 tesla; Flip Angle=8.0 degree; Manufacturer=SIEMENS; Matrix X=192.0 pixels; Matrix Y=192.0 pixels; Matrix Z=160.0 ; Mfg Model=Symphony; Pixel Spacing X=1.3 mm; Pixel Spacing Y=1.3 mm; Pulse Sequence=IR/GR; Slice Thickness=1.2 mm; TE=3.6 ms; TI=1000.0 ms; TR=3000.0 ms; Weighting=T1
9 | 016_S_1326 | M | 69.6 | PET | Attenuation Correction=CT-derived mu-map; Convolution Kernel=All-pass; Counts Source=EMISSION; Decay Correction=START; Frames=1.0 ; Manufacturer=CPS; Mfg Model=LSO PET/CT HI-REZ; Number of Columns=168.0 pixels; Number of Rows=168.0 pixels; Number of Slices=81.0 ; Pixel Spacing X=2.0 mm; Pixel Spacing Y=2.0 mm; Radioisotope=F-18; Radiopharmaceutical=18F-FDG; Randoms Correction=DLYD; Reconstruction=OSEM2D 4i16s; Scatter Correction=Model-based; Slice Thickness=2.0 mm
9 | 016_S_1326 | M | 69.6 | MRI | Acquisition Plane=SAGITTAL; Acquisition Type=3D; Coil=PA; Field Strength=1.5 tesla; Flip Angle=8.0 degree; Manufacturer=SIEMENS; Matrix X=192.0 pixels; Matrix Y=192.0 pixels; Matrix Z=160.0 ; Mfg Model=Symphony; Pixel Spacing X=1.3 mm; Pixel Spacing Y=1.3 mm; Pulse Sequence=IR/GR; Slice Thickness=1.2 mm; TE=3.8 ms; TI=1000.0 ms; TR=3000.0 ms; Weighting=T1
10 | 062_S_0535 | M | 76.9 | PET | Attenuation Correction=CT-derived mu-map; Convolution Kernel=All-pass; Counts Source=EMISSION; Decay Correction=START; Frames=1.0 ; Manufacturer=CPS; Mfg Model=LSO PET/CT HI-REZ; Number of Columns=168.0 pixels; Number of Rows=168.0 pixels; Number of Slices=81.0 ; Pixel Spacing X=2.0 mm; Pixel Spacing Y=2.0 mm; Radioisotope=F-18; Radiopharmaceutical=18F-FDG; Randoms Correction=DLYD; Reconstruction=OSEM2D 4i16s; Scatter Correction=Model-based; Slice Thickness=2.0 mm
10 | 062_S_0535 | M | 76.9 | MRI | Acquisition Plane=SAGITTAL; Acquisition Type=3D; Coil=PA; Field Strength=1.5 tesla; Flip Angle=8.0 degree; Manufacturer=SIEMENS; Matrix X=192.0 pixels; Matrix Y=192.0 pixels; Matrix Z=160.0 ; Mfg Model=Avanto; Pixel Spacing X=1.3 mm; Pixel Spacing Y=1.3 mm; Pulse Sequence=IR/GR; Slice Thickness=1.2 mm; TE=3.5 ms; TI=1000.0 ms; TR=2400.0 ms; Weighting=T1
11 | 062_S_0690 | M | 81.8 | PET | Attenuation Correction=CT-derived mu-map; Convolution Kernel=All-pass; Counts Source=EMISSION; Decay Correction=START; Frames=1.0 ; Manufacturer=CPS; Mfg Model=LSO PET/CT HI-REZ; Number of Columns=168.0 pixels; Number of Rows=168.0 pixels; Number of Slices=81.0 ; Pixel Spacing X=2.0 mm; Pixel Spacing Y=2.0 mm; Radioisotope=F-18; Radiopharmaceutical=18F-FDG; Randoms Correction=DLYD; Reconstruction=OSEM2D 4i16s; Scatter Correction=Model-based; Slice Thickness=2.0 mm
11 | 062_S_0690 | M | 81.8 | MRI | Acquisition Plane=SAGITTAL; Acquisition Type=3D; Coil=PA; Field Strength=1.5 tesla; Flip Angle=8.0 degree; Manufacturer=SIEMENS; Matrix X=192.0 pixels; Matrix Y=192.0 pixels; Matrix Z=160.0 ; Mfg Model=Avanto; Pixel Spacing X=1.3 mm; Pixel Spacing Y=1.3 mm; Pulse Sequence=GR/IR; Slice Thickness=1.2 mm; TE=3.5 ms; TI=1000.0 ms; TR=2400.0 ms; Weighting=T1
12 | 062_S_0730 | F | 70.7 | PET | Attenuation Correction=CT-derived mu-map; Convolution Kernel=All-pass; Counts Source=EMISSION; Decay Correction=START; Frames=1.0 ; Manufacturer=CPS; Mfg Model=LSO PET/CT HI-REZ; Number of Columns=168.0 pixels; Number of Rows=168.0 pixels; Number of Slices=81.0 ; Pixel Spacing X=2.0 mm; Pixel Spacing Y=2.0 mm; Radioisotope=F-18; Radiopharmaceutical=18F-FDG; Randoms Correction=DLYD; Reconstruction=OSEM2D 4i16s; Scatter Correction=Model-based; Slice Thickness=2.0 mm
12 | 062_S_0730 | F | 70.7 | MRI | Acquisition Plane=SAGITTAL; Acquisition Type=3D; Coil=PA; Field Strength=1.5 tesla; Flip Angle=8.0 degree; Manufacturer=SIEMENS; Matrix X=192.0 pixels; Matrix Y=192.0 pixels; Matrix Z=160.0 ; Mfg Model=Avanto; Pixel Spacing X=1.3 mm; Pixel Spacing Y=1.3 mm; Pulse Sequence=IR/GR; Slice Thickness=1.2 mm; TE=3.5 ms; TI=1000.0 ms; TR=2400.0 ms; Weighting=T1
13 | 062_S_0768 | M | 79.4 | PET | Attenuation Correction=CT-derived mu-map; Convolution Kernel=All-pass; Counts Source=EMISSION; Decay Correction=START; Frames=1.0 ; Manufacturer=CPS; Mfg Model=LSO PET/CT HI-REZ; Number of Columns=168.0 pixels; Number of Rows=168.0 pixels; Number of Slices=81.0 ; Pixel Spacing X=2.0 mm; Pixel Spacing Y=2.0 mm; Radioisotope=F-18; Radiopharmaceutical=18F-FDG; Randoms Correction=DLYD; Reconstruction=OSEM2D 4i16s; Scatter Correction=Model-based; Slice Thickness=2.0 mm
13 | 062_S_0768 | M | 79.4 | MRI | Acquisition Plane=SAGITTAL; Acquisition Type=3D; Coil=PA; Field Strength=1.5 tesla; Flip Angle=8.0 degree; Manufacturer=SIEMENS; Matrix X=192.0 pixels; Matrix Y=192.0 pixels; Matrix Z=160.0 ; Mfg Model=Avanto; Pixel Spacing X=1.3 mm; Pixel Spacing Y=1.3 mm; Pulse Sequence=GR/IR; Slice Thickness=1.2 mm; TE=3.5 ms; TI=1000.0 ms; TR=2400.0 ms; Weighting=T1
14 | 062_S_1099 | F | 79.3 | PET | Attenuation Correction=CT-derived mu-map; Convolution Kernel=All-pass; Counts Source=EMISSION; Decay Correction=START; Frames=1.0 ; Manufacturer=CPS; Mfg Model=LSO PET/CT HI-REZ; Number of Columns=168.0 pixels; Number of Rows=168.0 pixels; Number of Slices=81.0 ; Pixel Spacing X=2.0 mm; Pixel Spacing Y=2.0 mm; Radioisotope=F-18; Radiopharmaceutical=18F-FDG; Randoms Correction=DLYD; Reconstruction=OSEM2D 4i16s; Scatter Correction=Model-based; Slice Thickness=2.0 mm
14 | 062_S_1099 | F | 79.3 | MRI | Acquisition Plane=SAGITTAL; Acquisition Type=3D; Coil=PA; Field Strength=1.5 tesla; Flip Angle=8.0 degree; Manufacturer=SIEMENS; Matrix X=192.0 pixels; Matrix Y=192.0 pixels; Matrix Z=160.0 ; Mfg Model=Avanto; Pixel Spacing X=1.3 mm; Pixel Spacing Y=1.3 mm; Pulse Sequence=IR/GR; Slice Thickness=1.2 mm; TE=3.5 ms; TI=1000.0 ms; TR=2400.0 ms; Weighting=T1
15 | 062_S_1294 | M | 79.8 | PET | Attenuation Correction=CT-derived mu-map; Convolution Kernel=All-pass; Counts Source=EMISSION; Decay Correction=START; Frames=1.0 ; Manufacturer=CPS; Mfg Model=LSO PET/CT HI-REZ; Number of Columns=168.0 pixels; Number of Rows=168.0 pixels; Number of Slices=81.0 ; Pixel Spacing X=2.0 mm; Pixel Spacing Y=2.0 mm; Radioisotope=F-18; Radiopharmaceutical=18F-FDG; Randoms Correction=DLYD; Reconstruction=OSEM2D 4i16s; Scatter Correction=Model-based; Slice Thickness=2.0 mm
15 | 062_S_1294 | M | 79.8 | MRI | Acquisition Plane=SAGITTAL; Acquisition Type=3D; Coil=PA; Field Strength=1.5 tesla; Flip Angle=8.0 degree; Manufacturer=SIEMENS; Matrix X=192.0 pixels; Matrix Y=192.0 pixels; Matrix Z=160.0 ; Mfg Model=Avanto; Pixel Spacing X=1.3 mm; Pixel Spacing Y=1.3 mm; Pulse Sequence=IR/GR; Slice Thickness=1.2 mm; TE=3.5 ms; TI=1000.0 ms; TR=2400.0 ms; Weighting=T1
16 | 062_S_1299 | M | 74.9 | PET | Attenuation Correction=CT-derived mu-map; Convolution Kernel=All-pass; Counts Source=EMISSION; Decay Correction=START; Frames=1.0 ; Manufacturer=CPS; Mfg Model=LSO PET/CT HI-REZ; Number of Columns=168.0 pixels; Number of Rows=168.0 pixels; Number of Slices=81.0 ; Pixel Spacing X=2.0 mm; Pixel Spacing Y=2.0 mm; Radioisotope=F-18; Radiopharmaceutical=18F-FDG; Randoms Correction=DLYD; Reconstruction=OSEM2D 4i16s; Scatter Correction=Model-based; Slice Thickness=2.0 mm
16 | 062_S_1299 | M | 74.9 | MRI | Acquisition Plane=SAGITTAL; Acquisition Type=3D; Coil=PA; Field Strength=1.5 tesla; Flip Angle=8.0 degree; Manufacturer=SIEMENS; Matrix X=192.0 pixels; Matrix Y=192.0 pixels; Matrix Z=160.0 ; Mfg Model=Avanto; Pixel Spacing X=1.3 mm; Pixel Spacing Y=1.3 mm; Pulse Sequence=GR/IR; Slice Thickness=1.2 mm; TE=3.5 ms; TI=1000.0 ms; TR=2400.0 ms; Weighting=T1
17 | 082_S_0641 | M | 74.6 | PET | Attenuation Correction=CT-derived mu-map; Convolution Kernel=All-pass; Counts Source=EMISSION; Decay Correction=START; Frames=1.0 ; Manufacturer=CPS; Mfg Model=LSO PET/CT HI-REZ; Number of Columns=168.0 pixels; Number of Rows=168.0 pixels; Number of Slices=81.0 ; Pixel Spacing X=2.0 mm; Pixel Spacing Y=2.0 mm; Radioisotope=F-18; Radiopharmaceutical=18F-FDG; Randoms Correction=DLYD; Reconstruction=OSEM2D 4i16s; Scatter Correction=Model-based; Slice Thickness=2.0 mm
17 | 082_S_0641 | M | 74.6 | MRI | Acquisition Plane=SAGITTAL; Acquisition Type=3D; Coil=PA; Field Strength=1.5 tesla; Flip Angle=8.0 degree; Manufacturer=SIEMENS; Matrix X=192.0 pixels; Matrix Y=192.0 pixels; Matrix Z=160.0 ; Mfg Model=Symphony; Pixel Spacing X=1.3 mm; Pixel Spacing Y=1.3 mm; Pulse Sequence=IR/GR; Slice Thickness=1.2 mm; TE=3.6 ms; TI=1000.0 ms; TR=3000.0 ms; Weighting=T1
18 | 130_S_0232 | M | 78.2 | PET | Attenuation Correction=CT-derived mu-map; Convolution Kernel=; Counts Source=EMISSION; Decay Correction=START; Frames=1.0 ; Manufacturer=CPS; Mfg Model=LSO PET/CT HI-REZ; Number of Columns=168.0 pixels; Number of Rows=168.0 pixels; Number of Slices=81.0 ; Pixel Spacing X=2.0 mm; Pixel Spacing Y=2.0 mm; Radioisotope=F-18; Radiopharmaceutical=18F-FDG; Randoms Correction=DLYD; Reconstruction=OSEM2D 4i14s; Scatter Correction=Model-based; Slice Thickness=2.0 mm
18 | 130_S_0232 | M | 78.2 | MRI | Acquisition Plane=SAGITTAL; Acquisition Type=3D; Coil=8HRBRAIN; Field Strength=1.5 tesla; Flip Angle=8.0 degree; Manufacturer=GE MEDICAL SYSTEMS; Matrix X=256.0 pixels; Matrix Y=256.0 pixels; Matrix Z=166.0 ; Mfg Model=SIGNA EXCITE; Pixel Spacing X=0.9 mm; Pixel Spacing Y=0.9 mm; Pulse Sequence=RM; Slice Thickness=1.2 mm; TE=4.0 ms; TI=1000.0 ms; TR=9.1 ms; Weighting=T1
19 | 130_S_0285 | M | 65.8 | PET | Attenuation Correction=CT-derived mu-map; Convolution Kernel=; Counts Source=EMISSION; Decay Correction=START; Frames=1.0 ; Manufacturer=CPS; Mfg Model=LSO PET/CT HI-REZ; Number of Columns=168.0 pixels; Number of Rows=168.0 pixels; Number of Slices=81.0 ; Pixel Spacing X=2.0 mm; Pixel Spacing Y=2.0 mm; Radioisotope=F-18; Radiopharmaceutical=18F-FDG; Randoms Correction=DLYD; Reconstruction=OSEM2D 4i14s; Scatter Correction=Model-based; Slice Thickness=2.0 mm
19 | 130_S_0285 | M | 65.8 | MRI | Acquisition Plane=SAGITTAL; Acquisition Type=3D; Coil=8HRBRAIN; Field Strength=1.5 tesla; Flip Angle=8.0 degree; Manufacturer=GE MEDICAL SYSTEMS; Matrix X=256.0 pixels; Matrix Y=256.0 pixels; Matrix Z=166.0 ; Mfg Model=SIGNA EXCITE; Pixel Spacing X=0.9 mm; Pixel Spacing Y=0.9 mm; Pulse Sequence=RM; Slice Thickness=1.2 mm; TE=4.0 ms; TI=1000.0 ms; TR=9.1 ms; Weighting=T1
20 | 130_S_0289 | M | 67.9 | PET | Attenuation Correction=CT-derived mu-map; Convolution Kernel=; Counts Source=EMISSION; Decay Correction=START; Frames=1.0 ; Manufacturer=CPS; Mfg Model=LSO PET/CT HI-REZ; Number of Columns=168.0 pixels; Number of Rows=168.0 pixels; Number of Slices=81.0 ; Pixel Spacing X=2.0 mm; Pixel Spacing Y=2.0 mm; Radioisotope=F-18; Radiopharmaceutical=18F-FDG; Randoms Correction=DLYD; Reconstruction=OSEM2D 4i14s; Scatter Correction=Model-based; Slice Thickness=2.0 mm
20 | 130_S_0289 | M | 67.9 | MRI | Acquisition Plane=SAGITTAL; Acquisition Type=3D; Coil=8HRBRAIN; Field Strength=1.5 tesla; Flip Angle=8.0 degree; Manufacturer=GE MEDICAL SYSTEMS; Matrix X=256.0 pixels; Matrix Y=256.0 pixels; Matrix Z=166.0 ; Mfg Model=SIGNA EXCITE; Pixel Spacing X=0.9 mm; Pixel Spacing Y=0.9 mm; Pulse Sequence=RM; Slice Thickness=1.2 mm; TE=4.0 ms; TI=1000.0 ms; TR=9.1 ms; Weighting=T1

## Feuil1
Étiquettes de lignes | Min. de elastix | Min. de ants |  | Moyenne de elastix | Moyenne de ants | Max. de elastix | Max. de ants | Min. de elastix | Min. de ants
Cerebelo | 0.057716 | 0.08346 | Cerebelo | 0.14974 | 0.16441 | 0.26848 | 0.26599 | 0.057716 | 0.08346
Frontal | 0.090742 | 0.095363 | Frontal | 0.16763 | 0.18161 | 0.25089 | 0.27079 | 0.090742 | 0.095363
Globus pallidum | 0.017733 | 0.024887 | Globus pallidum | 0.10383 | 0.12067 | 0.38824 | 0.42874 | 0.017733 | 0.024887
Nucleo caudado | 0.22263 | 0.22849 | Nucleo caudado | 0.36232 | 0.39046 | 0.51014 | 0.5389 | 0.22263 | 0.22849
Occipital | 0.03018 | 0.055894 | Occipital | 0.10306 | 0.10536 | 0.22847 | 0.22262 | 0.03018 | 0.055894
Parietal | 0.041035 | 0.040692 | Parietal | 0.15175 | 0.16661 | 0.25745 | 0.27715 | 0.041035 | 0.040692
Putamen | 0.077184 | 0.088922 | Putamen | 0.15559 | 0.17058 | 0.37372 | 0.36372 | 0.077184 | 0.088922
Talamo | 0.19098 | 0.20573 | Talamo | 0.37362 | 0.40837 | 0.50078 | 0.57654 | 0.19098 | 0.20573
Temporal | 0.087499 | 0.11636 | Temporal | 0.13167 | 0.14326 | 0.20789 | 0.19562 | 0.087499 | 0.11636
Tr. encefalico | 0.067094 | 0.07664 | Tr. encefalico | 0.12161 | 0.13552 | 0.31904 | 0.31627 | 0.067094 | 0.07664
Ventriculos laterales | 0.0068393 | 0.0098377 | Ventriculos laterales | 0.097963 | 0.10792 | 0.40702 | 0.41753 | 0.0068393 | 0.0098377
(vide)
Total général | 0.0068393 | 0.0098377
[9 empty] | Écartype de elastix | Écartype de ants
[9 empty] | 0.054789 | 0.044152
[9 empty] | 0.054198 | 0.05694
[9 empty] | 0.1268 | 0.13029
[9 empty] | 0.074739 | 0.084987
[9 empty] | 0.046198 | 0.040819
[9 empty] | 0.076572 | 0.078617
[9 empty] | 0.08016 | 0.079067
[9 empty] | 0.083895 | 0.091487
[9 empty] | 0.02684 | 0.022497
[9 empty] | 0.068323 | 0.063103
[9 empty] | 0.12089 | 0.12287

## parte 2
Method | elastix | ants
Parietal | 0.25148 | 0.27715
Parietal | 0.12864 | 0.20719
Parietal | 0.24442 | 0.25001
Parietal | 0.25745 | 0.25804
Parietal | 0.23114 | 0.22617
Parietal | 0.21457 | 0.24402
Parietal | 0.24029 | 0.25167
Parietal | 0.21699 | 0.2379
Parietal | 0.17464 | 0.18968
Parietal | 0.041035 | 0.056594
Parietal | 0.13632 | 0.1314
Parietal | 0.080299 | 0.098894
Parietal | 0.073939 | 0.10511
Parietal | 0.10212 | 0.10754
Parietal | 0.046675 | 0.040692
Parietal | 0.046325 | 0.068857
Parietal | 0.20563 | 0.23304
Parietal | 0.12964 | 0.13285
Parietal | 0.14244 | 0.1449
Parietal | 0.070875 | 0.070548
Frontal | 0.23721 | 0.23844
Frontal | 0.14484 | 0.2148
Frontal | 0.21937 | 0.22802
Frontal | 0.25089 | 0.27079
Frontal | 0.16558 | 0.15748
Frontal | 0.22761 | 0.24525
Frontal | 0.23943 | 0.2507
Frontal | 0.18266 | 0.195
Frontal | 0.17248 | 0.19173
Frontal | 0.099917 | 0.12046
Frontal | 0.21759 | 0.21819
Frontal | 0.15488 | 0.1757
Frontal | 0.13182 | 0.15648
Frontal | 0.15109 | 0.15628
Frontal | 0.10734 | 0.11127
Frontal | 0.10785 | 0.12987
Frontal | 0.22801 | 0.2568
Frontal | 0.090742 | 0.095363
Frontal | 0.11062 | 0.10482
Frontal | 0.11267 | 0.11472
Temporal | 0.20789 | 0.19562
Temporal | 0.087499 | 0.13357
Temporal | 0.13573 | 0.13792
Temporal | 0.14561 | 0.15065
Temporal | 0.13112 | 0.11839
Temporal | 0.15545 | 0.16253
Temporal | 0.10788 | 0.11636
Temporal | 0.15157 | 0.15205
Temporal | 0.11395 | 0.12286
Temporal | 0.091386 | 0.11834
Temporal | 0.12688 | 0.12603
Temporal | 0.11236 | 0.12665
Temporal | 0.15888 | 0.1889
Temporal | 0.13454 | 0.14205
Temporal | 0.12091 | 0.12983
Temporal | 0.12264 | 0.16069
Temporal | 0.1362 | 0.15256
Temporal | 0.11466 | 0.13631
Temporal | 0.12348 | 0.13011
Temporal | 0.15475 | 0.16375
Occipital | 0.13017 | 0.11788
Occipital | 0.03018 | 0.12121
Occipital | 0.11067 | 0.114
Occipital | 0.094483 | 0.089424
Occipital | 0.17442 | 0.11519
Occipital | 0.05202 | 0.066377
Occipital | 0.069636 | 0.079652
Occipital | 0.062296 | 0.074602
Occipital | 0.08936 | 0.089768
Occipital | 0.068878 | 0.10539
Occipital | 0.06751 | 0.055894
Occipital | 0.10336 | 0.079796
Occipital | 0.11152 | 0.10046
Occipital | 0.22847 | 0.22262
Occipital | 0.085281 | 0.070877
Occipital | 0.15439 | 0.16899
Occipital | 0.070053 | 0.05964
Occipital | 0.13989 | 0.16057
Occipital | 0.10857 | 0.11727
Occipital | 0.11004 | 0.097542
Cerebelo | 0.23588 | 0.20896
Cerebelo | 0.057716 | 0.13071
Cerebelo | 0.20245 | 0.22015
Cerebelo | 0.12334 | 0.15005
Cerebelo | 0.26848 | 0.24563
Cerebelo | 0.14152 | 0.16648
Cerebelo | 0.17824 | 0.16643
Cerebelo | 0.12135 | 0.13616
Cerebelo | 0.14233 | 0.16916
Cerebelo | 0.10909 | 0.14304
Cerebelo | 0.12482 | 0.12906
Cerebelo | 0.066122 | 0.08346
Cerebelo | 0.11471 | 0.13394
Cerebelo | 0.1718 | 0.17958
Cerebelo | 0.13636 | 0.13386
Cerebelo | 0.15311 | 0.17942
Cerebelo | 0.11141 | 0.12855
Cerebelo | 0.2428 | 0.26599
Cerebelo | 0.16265 | 0.18046
Cerebelo | 0.13055 | 0.13719
Talamo | 0.40892 | 0.45914
Talamo | 0.34917 | 0.38089
Talamo | 0.32441 | 0.34062
Talamo | 0.32854 | 0.34835
Talamo | 0.41619 | 0.41075
Talamo | 0.28498 | 0.32394
Talamo | 0.19098 | 0.20573
Talamo | 0.3943 | 0.40484
Talamo | 0.32858 | 0.35682
Talamo | 0.32579 | 0.4378
Talamo | 0.37353 | 0.38745
Talamo | 0.41355 | 0.46747
Talamo | 0.50078 | 0.54142
Talamo | 0.38002 | 0.41355
Talamo | 0.47808 | 0.48805
Talamo | 0.49733 | 0.57654
Talamo | 0.4357 | 0.48424
Talamo | 0.38734 | 0.43768
Talamo | 0.21031 | 0.23638
Talamo | 0.44383 | 0.46569
Nucleo caudado | 0.34005 | 0.35894
Nucleo caudado | 0.4111 | 0.45182
Nucleo caudado | 0.37178 | 0.39433
Nucleo caudado | 0.38896 | 0.41536
Nucleo caudado | 0.26803 | 0.25553
Nucleo caudado | 0.39984 | 0.41983
Nucleo caudado | 0.22263 | 0.22849
Nucleo caudado | 0.47148 | 0.46649
Nucleo caudado | 0.51014 | 0.5389
Nucleo caudado | 0.36856 | 0.44332
Nucleo caudado | 0.31601 | 0.3315
Nucleo caudado | 0.38039 | 0.40637
Nucleo caudado | 0.42305 | 0.48495
Nucleo caudado | 0.3524 | 0.37125
Nucleo caudado | 0.45332 | 0.49571
Nucleo caudado | 0.35032 | 0.42516
Nucleo caudado | 0.35515 | 0.40926
Nucleo caudado | 0.25635 | 0.28393
Nucleo caudado | 0.24891 | 0.25387
Nucleo caudado | 0.3579 | 0.3743
Tr. encefalico | 0.21038 | 0.21803
Tr. encefalico | 0.06861 | 0.11116
Tr. encefalico | 0.1284 | 0.14095
Tr. encefalico | 0.075099 | 0.084716
Tr. encefalico | 0.31904 | 0.31627
Tr. encefalico | 0.072561 | 0.080799
Tr. encefalico | 0.12687 | 0.12798
Tr. encefalico | 0.17553 | 0.14897
Tr. encefalico | 0.067498 | 0.07664
Tr. encefalico | 0.08574 | 0.13336
Tr. encefalico | 0.24178 | 0.25681
Tr. encefalico | 0.072453 | 0.083972
Tr. encefalico | 0.079021 | 0.09984
Tr. encefalico | 0.10418 | 0.11106
Tr. encefalico | 0.11179 | 0.12707
Tr. encefalico | 0.094038 | 0.13065
Tr. encefalico | 0.16181 | 0.17516
Tr. encefalico | 0.07577 | 0.096461
Tr. encefalico | 0.067094 | 0.077978
Tr. encefalico | 0.094457 | 0.1125
Globus pallidum | 0.36752 | 0.42874
Globus pallidum | 0.034916 | 0.055012
Globus pallidum | 0.028218 | 0.041891
Globus pallidum | 0.047729 | 0.050169
Globus pallidum | 0.38824 | 0.37844
Globus pallidum | 0.094724 | 0.10813
Globus pallidum | 0.28781 | 0.32811
Globus pallidum | 0.062497 | 0.060999
Globus pallidum | 0.041328 | 0.050599
Globus pallidum | 0.019987 | 0.037575
Globus pallidum | 0.34201 | 0.34179
Globus pallidum | 0.059706 | 0.074955
Globus pallidum | 0.039751 | 0.080691
Globus pallidum | 0.061689 | 0.089382
Globus pallidum | 0.050348 | 0.060418
Globus pallidum | 0.035013 | 0.07326
Globus pallidum | 0.032877 | 0.055368
Globus pallidum | 0.017733 | 0.024887
Globus pallidum | 0.027731 | 0.029704
Globus pallidum | 0.03671 | 0.043307
Putamen | 0.1226 | 0.1468
Putamen | 0.10308 | 0.13678
Putamen | 0.077184 | 0.088922
Putamen | 0.090907 | 0.10356
Putamen | 0.37372 | 0.36372
Putamen | 0.14476 | 0.17064
Putamen | 0.26492 | 0.28009
Putamen | 0.084668 | 0.091127
Putamen | 0.084621 | 0.092881
Putamen | 0.083838 | 0.10437
Putamen | 0.25043 | 0.27479
Putamen | 0.22052 | 0.24324
Putamen | 0.19949 | 0.22952
Putamen | 0.22758 | 0.24122
Putamen | 0.17869 | 0.18513
Putamen | 0.17085 | 0.19808
Putamen | 0.085858 | 0.098374
Putamen | 0.080519 | 0.093668
Putamen | 0.1179 | 0.11764
Putamen | 0.14959 | 0.15099
Ventriculos laterales | 0.30321 | 0.32711
Ventriculos laterales | 0.049542 | 0.056335
Ventriculos laterales | 0.018137 | 0.025206
Ventriculos laterales | 0.042278 | 0.045395
Ventriculos laterales | 0.31378 | 0.30133
Ventriculos laterales | 0.088816 | 0.10691
Ventriculos laterales | 0.25583 | 0.27871
Ventriculos laterales | 0.099793 | 0.10273
Ventriculos laterales | 0.025036 | 0.03127
Ventriculos laterales | 0.027471 | 0.042746
Ventriculos laterales | 0.40702 | 0.41753
Ventriculos laterales | 0.025285 | 0.035248
Ventriculos laterales | 0.0068393 | 0.014258
Ventriculos laterales | 0.084724 | 0.097998
Ventriculos laterales | 0.02121 | 0.02023
Ventriculos laterales | 0.011051 | 0.023753
Ventriculos laterales | 0.11932 | 0.15688
Ventriculos laterales | 0.036402 | 0.047921
Ventriculos laterales | 0.0083971 | 0.0098377
Ventriculos laterales | 0.015112 | 0.017061

## parte 1
Method | elastix | ants
FOV | 0.21132 | 0.27267
FOV | 0.23968 | 0.31204
FOV | 0.18251 | 0.22331
FOV | 0.23742 | 0.25093
FOV | 0.27293 | 0.27629
FOV | 0.30452 | 0.31444
FOV | 0.24635 | 0.26507
FOV | 0.29811 | 0.29585
FOV | 0.26171 | 0.27609
FOV | 0.18191 | 0.23269
FOV | 0.27028 | 0.27784
FOV | 0.25772 | 0.30299
FOV | 0.22739 | 0.28894
FOV | 0.23458 | 0.27391
FOV | 0.26083 | 0.28397
FOV | 0.19516 | 0.25434
FOV | 0.19082 | 0.227
FOV | 0.27893 | 0.3071
FOV | 0.29369 | 0.29739
FOV | 0.28865 | 0.30531
Cerebro | 0.20706 | 0.1997
Cerebro | 0.066928 | 0.12465
Cerebro | 0.13448 | 0.13896
Cerebro | 0.16943 | 0.17938
Cerebro | 0.15367 | 0.14096
Cerebro | 0.14399 | 0.15412
Cerebro | 0.16976 | 0.17477
Cerebro | 0.14864 | 0.15474
Cerebro | 0.12239 | 0.13316
Cerebro | 0.075864 | 0.094349
Cerebro | 0.13246 | 0.13016
Cerebro | 0.085714 | 0.096732
Cerebro | 0.12966 | 0.14691
Cerebro | 0.10638 | 0.11006
Cerebro | 0.10615 | 0.10914
Cerebro | 0.11062 | 0.13364
Cerebro | 0.15918 | 0.1737
Cerebro | 0.10981 | 0.12174
Cerebro | 0.075189 | 0.077169
Cerebro | 0.11134 | 0.11024
Sustancia gris | 0.1982 | 0.18416
Sustancia gris | 0.0093531 | 0.030605
Sustancia gris | 0.032466 | 0.031143
Sustancia gris | 0.033424 | 0.034764
Sustancia gris | 0.1388 | 0.12527
Sustancia gris | 0.037457 | 0.039704
Sustancia gris | 0.13067 | 0.13148
Sustancia gris | 0.031523 | 0.032478
Sustancia gris | 0.02802 | 0.030394
Sustancia gris | 0.070773 | 0.088623
Sustancia gris | 0.12252 | 0.11858
Sustancia gris | 0.03633 | 0.033619
Sustancia gris | 0.06605 | 0.070102
Sustancia gris | 0.042446 | 0.044485
Sustancia gris | 0.072123 | 0.068793
Sustancia gris | 0.07219 | 0.082521
Sustancia gris | 0.070704 | 0.075653
Sustancia gris | 0.11577 | 0.12838
Sustancia gris | 0.036386 | 0.039797
Sustancia gris | 0.065415 | 0.05564